## Discrete inputs
Register address	Description
0	Quantity of founded 18b20
1	First 18b20 temperature, 18b20 format (4 decimal places)
2	Second 18b20 temperature
3	╫
4	╫
5	╫
6	╫
7	╫
8	╫
9	╫
10	╫
11	10th 18b20 temperature

## Holding registers
Register address	low byte	high byte
0	Modbus address
1	Target temperature (° C)
2	Mode
3	Brightness (0-255)
4	Seconds (BCD)	Minutes (BCD)
5	Hours (0-23, BCD)	Day of week (1-7)
6	Date (BCD)	Month (BCD)
7	Year (last 2 digit, BCD)