## Input registers
Register address	Description
0	Quantity of founded 18b20
1	First 18b20 temperature, 18b20 format (4 decimal places)
2	Second 18b20 temperature
3	╫
4	╫
5	╫
6	╫
7	╫
8	╫
9	╫
10	╫
11	10th 18b20 temperature

## Holding registers
Register address	low byte	high byte
0	Modbus address
1	Target temperature (°C)
2	Mode
3	Brightness (0-255)
4	Seconds (BCD)	Minutes (BCD)
5	Hours (0-23, BCD)	Day of week (1-7)
6	Date (BCD)	Month (BCD)
7	Year (last 2 digit, BCD)
8-14	Event1
15-21	Event2
22-28	Event3
29-35	Event4
36-42	Event5
43-49	Event6
50-56	Event7
57-63	Event8

## Event
			7	6	5	4	3	2	1	0
register	0	Flags							Once	Enable
	1	Seconds, 0xFF – inherit		Tens			Ones
	2	Minutes, 0xFF – inherit		Tens			Ones
	3	Hours, 0xFF – inherit			Tens		Ones
	4	Day, 0xFF – inherit		Sat	Fri	Thu	Wed	Tue	Mon	Sun
	5	Mode, 0xFF – inherit						Mode
	6	Temperature, 0xFF – inherit	Target temperature, signed